Ultrafast electron diffraction & Pump/probe experiments
Kyu-Ha Jang 
Radiation center for ultrafast science, Korea Atomic Energy Research Institute
e-mail: kyuha@kaeri.re.k
Recently, RF photocathode gun based-ultrafast electron diffraction (UED) system has been developed by the WCI team in KAERI. The facility is mainly composed of a 1.5 cell S-band RF gun, a travelling wave type linac and 90 degree achromatic magnetic bends to generate relativistic ultra-short electron bunches. The availability of sub-picosecond electron bunches makes possible a variety of new experimental techniques, including the generation of ultra-short radiation pulses, time-resolved pump-probe experiments. In our cases, the developed facility is being used for UV, IR & T-ray pump/ electron beam prove experiments and T-ray pump/X-ray prove experiments to investigate dynamics excited by electromagnetic waves within atomic and molecular structures. The main features and specification of the facility will be discussed in the colloquium.
1. N. Vinokurov, et al., in Procedings of FEL2013, New York, USA
2. C. Sawyer and N. Norris, in Proc. LINAC84, Seeheim, Germany (19884).

3. T. van Oudheusden et al., " Compression of Subrelativistic Space-Charge-Dominated Electron Bunches for Single-Shot Femtosecond Electron Diffraction", PRL,105, 264801 (2010).
Keywords: fs electron bunch, RF photocathode gun, pump/prove experiment, UED 
